## overview
Absorbed number of photons/chromophore at given sample and pump laser conditions
Select from drop down menu
crystal, protein and laser parameters to be filled in
result
| Crystal parameters, optical properties of sample | [6 empty] | Output
| Extinction coefficient of chromophore |  |  |  |  | select crystal parameters or molar concentration as input: |  | Concentration of absorbing molecules:
|  |  | 45600 | l / (mol cm) |  |  |  |  | 0.026963 | mol/l
1/e penetration depth of sample
[6 empty] | crystal-parameters |  |  | 3.5323 | µm
| Sample thickness |  | 5 | µm |  | fill in crystal parameters (orange cells)
pump intensity at interaction point (IP) [% of peak value]
[9 empty] | 100 | %
| Crystal parameters | [6 empty] | 169.9 | µm | beam diameter | 1/e²
| Cell axes length |  |  |  | Angles
|  | unit: | Å |  |  |  |  | laser fluence | at IP | 2.2054 | mJ/cm²
| a | 62 | Å |  | alpha | 90 | deg |  | peak | 2.2054 | mJ/cm²
| b | 62 | Å |  | beta | 90 | deg
| c | 111 | Å |  | gamma | 120 | deg | laser power density | at IP | 15.2099 | GW/cm²
[9 empty] | peak | 15.2099 | GW/cm²
Number of absorbing molecules/unit cell
|  |  | 6 |  |  |  |  | Average number of absorbed photons/absorbing molecule
[9 empty] | 0.55088 | photons / molecule
| Chromophore concentration |  |  | 0.02 | mol/l
Laser parameters
|  | pulse energy |  | 0.25 | µJ
|  | beam diameter |  | 100 | µm
|  | beam diameter measured at FWHM or 1/e²? |  |  | FWHM
|  | pulse duration |  | 145 | fs
|  | laser offset |  | 0 | µm
|  | wavelength |  | 532 | nm
This programme calculates the absorbed number of photons per molecule inside a light-absorbing sample based on the given sample and illumination properties.
It assumes equal probabilities for single-and multi-photon absorption as a strong over-simplification.
Incident pump laser fluence is assumed to be the same for the entire area illuminated. This corresponds to the situation where the probe beam is much smaller than the pump beam. E.g., this is the case in typical SFX experiments where the optical pump pulse is focused to ~100 um diameter and the X-ray probe beam is focused to ~1 um diameter at the interaction point (IP).
As default, it is assumed that the probe beam is centred on the pump beam, thus sampling molecules that were excited with the peak intensity of the pump pulse. The offset parameter can be used to shift the probing region off the peak pump intensity. Generally, these calculations assume that the pump pulse intensity has no temporal variation and that the spatial intensity distribution is Gausssian.
by Marie L. Grünbein, Max-Planck-Institute for Medical Research
marie.gruenbein@mr.mpg.de
last edited 23.03.2020

## consts_hlp-params (hidden)
Natural constants
h | 6.6261e-34 | m^2 kg /s | Planck's constant
c | 299792458 | m/s | speed of light
N_A | 6.0221e+23 | 1/mol | Avogadro's constant
Crystal parameters, optical properties of sample | [6 empty] | Laser parameters
Extinction coefficient of chromophore | [6 empty] | pulse energy |  | 2.5e-07 | J
|  | 4560000 | l /(mol m)
[7 empty] | beam diameter input |  | 0.0001 | m | beam diameter 2w | 0.0001699 | m
Sample thickness |  | 5e-06 | m |  |  |  | type | FWHM | 100 | um | 1/e² | 169.9 | um
Crystal parameters | [6 empty] | 1/e² beam radius w |  | 8.495e-05 | m | 84.95 | um
Cell axes length |  |  |  | Angles
a | 6.2e-09 | m |  | alpha | 1.5708 | rad | wish to see beam diameter |  |  | 1/e² | 0.0001699 | m
b | 6.2e-09 | m |  | beta | 1.5708 | rad
c | 1.11e-08 | m |  | gamma | 2.0944 | rad | pulse duration |  | 1.45e-13 | s
Unit cell volume | 3.6952e-25 | m³ | Chromophore concentration in crystal |  | 0.026963 | mol/l | laser offset |  | 0 | m | reduction factor due to laser offset | 1 | I at IP / peak
| 3.6952e-22 | l | [6 empty] | 0 | um
Chromophore concentration (either given by crystal parameters or as entered) | [6 empty] | wavelength |  | 5.32e-07 | m | photon energy | 3.7339e-19 | J
| 0.026963 | mol/l
[7 empty] | fluence | peak | 22.0543 | J/m² | at IP | 22.0543 | J/m²
penetration depth (1/e) |  | 3.5323e-06 | m
[7 empty] | laser power density | peak | 1.521e+14 | W/m² | at IP | 1.521e+14 | W/m²
Chromophore particle density |  | 1.6237e+25 | 1/m³
|  | 1.6237e+22 | 1/l |  |  |  | photon density at IP |  | 5.9065e+19 | photons/m²
[9 empty] | 59064736.7108 | photons/µm²
avg distance d between molecules d = |  |  | 3.9491e-09 | m
# molecules/area within layer of thickness d |  |  | 64122361364847592 | 1/m²
|  |  | 64122.3614 | 1/µm²
fraction of absorbed intensity within sample layer of thickness d |  |  | 0.0011174

## datapts (hidden)
idx | depth [m] | depth [um] | remaining inten- sity I/I0 | phot/µm² | # abs. phot/mol in avg dist | # abs. phot/mol in stepsize | Nsteps | 500
0 | 0 | 0 | 1 | 59064736.7108 | 1.0292 | 1.0284
1 | 1e-08 | 0.01 | 0.99717 | 58897759.3661 | 1.0263 | 1.0254 | stepsize
2 | 2e-08 | 0.02 | 0.99435 | 58731254.0701 | 1.0234 | 1.0225 | m | um
3 | 3e-08 | 0.03 | 0.99154 | 58565219.4883 | 1.0205 | 1.0197 | 1e-08 | 0.01
4 | 4e-08 | 0.04 | 0.98874 | 58399654.2901 | 1.0176 | 1.0168
5 | 5e-08 | 0.05 | 0.98594 | 58234557.1484 | 1.0148 | 1.0139 | fraction absorbed within stepsize
6 | 6e-08 | 0.06 | 0.98316 | 58069926.7401 | 1.0119 | 1.011 | 0.002827
7 | 7e-08 | 0.07 | 0.98038 | 57905761.7457 | 1.009 | 1.0082
8 | 8e-08 | 0.08 | 0.97761 | 57742060.8494 | 1.0062 | 1.0053 | # molecules/area within layer of thickness step size
9 | 9e-08 | 0.09 | 0.97484 | 57578822.7392 | 1.0033 | 1.0025 | 1/m² | 1/um²
10 | 1e-07 | 0.1 | 0.97209 | 57416046.1068 | 1.0005 | 0.99965 | 1.6237e+17 | 162373.1668
11 | 1.1e-07 | 0.11 | 0.96934 | 57253729.6477 | 0.99768 | 0.99682
12 | 1.2e-07 | 0.12 | 0.9666 | 57091872.0609 | 0.99486 | 0.99401
13 | 1.3e-07 | 0.13 | 0.96387 | 56930472.0491 | 0.99205 | 0.9912
14 | 1.4e-07 | 0.14 | 0.96114 | 56769528.3188 | 0.98924 | 0.98839
15 | 1.5e-07 | 0.15 | 0.95842 | 56609039.5801 | 0.98644 | 0.9856
16 | 1.6e-07 | 0.16 | 0.95571 | 56449004.5466 | 0.98366 | 0.98281
17 | 1.7e-07 | 0.17 | 0.95301 | 56289421.9358 | 0.98087 | 0.98004
18 | 1.8e-07 | 0.18 | 0.95032 | 56130290.4687 | 0.9781 | 0.97726
19 | 1.9e-07 | 0.19 | 0.94763 | 55971608.8698 | 0.97534 | 0.9745
20 | 2e-07 | 0.2 | 0.94495 | 55813375.8673 | 0.97258 | 0.97175
21 | 2.1e-07 | 0.21 | 0.94228 | 55655590.1932 | 0.96983 | 0.969
22 | 2.2e-07 | 0.22 | 0.93962 | 55498250.5827 | 0.96709 | 0.96626
23 | 2.3e-07 | 0.23 | 0.93696 | 55341355.7748 | 0.96435 | 0.96353
24 | 2.4e-07 | 0.24 | 0.93431 | 55184904.5121 | 0.96163 | 0.96081
25 | 2.5e-07 | 0.25 | 0.93167 | 55028895.5407 | 0.95891 | 0.95809
26 | 2.6e-07 | 0.26 | 0.92904 | 54873327.6101 | 0.9562 | 0.95538
27 | 2.7e-07 | 0.27 | 0.92641 | 54718199.4736 | 0.9535 | 0.95268
28 | 2.8e-07 | 0.28 | 0.92379 | 54563509.8878 | 0.9508 | 0.94999
29 | 2.9e-07 | 0.29 | 0.92118 | 54409257.613 | 0.94811 | 0.9473
30 | 3e-07 | 0.3 | 0.91858 | 54255441.4129 | 0.94543 | 0.94462
31 | 3.1e-07 | 0.31 | 0.91598 | 54102060.0546 | 0.94276 | 0.94195
32 | 3.2e-07 | 0.32 | 0.91339 | 53949112.3089 | 0.94009 | 0.93929
33 | 3.3e-07 | 0.33 | 0.91081 | 53796596.9499 | 0.93744 | 0.93663
34 | 3.4e-07 | 0.34 | 0.90823 | 53644512.7553 | 0.93479 | 0.93399
35 | 3.5e-07 | 0.35 | 0.90566 | 53492858.5061 | 0.93214 | 0.93135
36 | 3.6e-07 | 0.36 | 0.9031 | 53341632.987 | 0.92951 | 0.92871
37 | 3.7e-07 | 0.37 | 0.90055 | 53190834.9858 | 0.92688 | 0.92609
38 | 3.8e-07 | 0.38 | 0.89801 | 53040463.2939 | 0.92426 | 0.92347
39 | 3.9e-07 | 0.39 | 0.89547 | 52890516.7062 | 0.92165 | 0.92086
40 | 4e-07 | 0.4 | 0.89294 | 52740994.0209 | 0.91904 | 0.91826
41 | 4.1e-07 | 0.41 | 0.89041 | 52591894.0396 | 0.91644 | 0.91566
42 | 4.2e-07 | 0.42 | 0.88789 | 52443215.5673 | 0.91385 | 0.91307
43 | 4.3e-07 | 0.43 | 0.88538 | 52294957.4125 | 0.91127 | 0.91049
44 | 4.4e-07 | 0.44 | 0.88288 | 52147118.3867 | 0.90869 | 0.90792
45 | 4.5e-07 | 0.45 | 0.88038 | 51999697.3053 | 0.90612 | 0.90535
46 | 4.6e-07 | 0.46 | 0.8779 | 51852692.9865 | 0.90356 | 0.90279
47 | 4.7e-07 | 0.47 | 0.87541 | 51706104.2523 | 0.90101 | 0.90024
48 | 4.8e-07 | 0.48 | 0.87294 | 51559929.9278 | 0.89846 | 0.89769
49 | 4.9e-07 | 0.49 | 0.87047 | 51414168.8414 | 0.89592 | 0.89515
50 | 5e-07 | 0.5 | 0.86801 | 51268819.8248 | 0.89339 | 0.89262
51 | 5.1e-07 | 0.51 | 0.86556 | 51123881.7132 | 0.89086 | 0.8901
52 | 5.2e-07 | 0.52 | 0.86311 | 50979353.345 | 0.88834 | 0.88758
53 | 5.3e-07 | 0.53 | 0.86067 | 50835233.5616 | 0.88583 | 0.88507
54 | 5.4e-07 | 0.54 | 0.85824 | 50691521.2082 | 0.88333 | 0.88257
55 | 5.5e-07 | 0.55 | 0.85581 | 50548215.1329 | 0.88083 | 0.88008
56 | 5.6e-07 | 0.56 | 0.85339 | 50405314.187 | 0.87834 | 0.87759
57 | 5.7e-07 | 0.57 | 0.85098 | 50262817.2254 | 0.87586 | 0.87511
58 | 5.8e-07 | 0.58 | 0.84857 | 50120723.1058 | 0.87338 | 0.87263
59 | 5.9e-07 | 0.59 | 0.84617 | 49979030.6896 | 0.87091 | 0.87017
60 | 6e-07 | 0.6 | 0.84378 | 49837738.841 | 0.86845 | 0.86771
61 | 6.1e-07 | 0.61 | 0.8414 | 49696846.4277 | 0.866 | 0.86525
62 | 6.2e-07 | 0.62 | 0.83902 | 49556352.3204 | 0.86355 | 0.86281
63 | 6.3e-07 | 0.63 | 0.83665 | 49416255.3931 | 0.86111 | 0.86037
64 | 6.4e-07 | 0.64 | 0.83428 | 49276554.523 | 0.85867 | 0.85794
65 | 6.5e-07 | 0.65 | 0.83192 | 49137248.5905 | 0.85624 | 0.85551
66 | 6.6e-07 | 0.66 | 0.82957 | 48998336.4789 | 0.85382 | 0.85309
67 | 6.7e-07 | 0.67 | 0.82722 | 48859817.075 | 0.85141 | 0.85068
68 | 6.8e-07 | 0.68 | 0.82489 | 48721689.2686 | 0.849 | 0.84828
69 | 6.9e-07 | 0.69 | 0.82255 | 48583951.9526 | 0.8466 | 0.84588
70 | 7e-07 | 0.7 | 0.82023 | 48446604.0231 | 0.84421 | 0.84349
71 | 7.1e-07 | 0.71 | 0.81791 | 48309644.3794 | 0.84182 | 0.8411
72 | 7.2e-07 | 0.72 | 0.8156 | 48173071.9236 | 0.83944 | 0.83872
73 | 7.3e-07 | 0.73 | 0.81329 | 48036885.5612 | 0.83707 | 0.83635
74 | 7.4e-07 | 0.74 | 0.81099 | 47901084.2008 | 0.8347 | 0.83399
75 | 7.5e-07 | 0.75 | 0.8087 | 47765666.7539 | 0.83234 | 0.83163
76 | 7.6e-07 | 0.76 | 0.80641 | 47630632.1352 | 0.82999 | 0.82928
77 | 7.7e-07 | 0.77 | 0.80413 | 47495979.2623 | 0.82764 | 0.82694
78 | 7.8e-07 | 0.78 | 0.80186 | 47361707.0562 | 0.8253 | 0.8246
79 | 7.9e-07 | 0.79 | 0.79959 | 47227814.4407 | 0.82297 | 0.82227
80 | 8e-07 | 0.8 | 0.79733 | 47094300.3426 | 0.82064 | 0.81994
81 | 8.1e-07 | 0.81 | 0.79508 | 46961163.6919 | 0.81832 | 0.81762
82 | 8.2e-07 | 0.82 | 0.79283 | 46828403.4215 | 0.81601 | 0.81531
83 | 8.3e-07 | 0.83 | 0.79059 | 46696018.4673 | 0.8137 | 0.81301
84 | 8.4e-07 | 0.84 | 0.78836 | 46564007.7685 | 0.8114 | 0.81071
85 | 8.5e-07 | 0.85 | 0.78613 | 46432370.2668 | 0.80911 | 0.80842
86 | 8.6e-07 | 0.86 | 0.7839 | 46301104.9074 | 0.80682 | 0.80613
87 | 8.7e-07 | 0.87 | 0.78169 | 46170210.638 | 0.80454 | 0.80385
88 | 8.8e-07 | 0.88 | 0.77948 | 46039686.4098 | 0.80227 | 0.80158
89 | 8.9e-07 | 0.89 | 0.77727 | 45909531.1765 | 0.8 | 0.79931
90 | 9e-07 | 0.9 | 0.77508 | 45779743.8949 | 0.79774 | 0.79706
91 | 9.1e-07 | 0.91 | 0.77289 | 45650323.525 | 0.79548 | 0.7948
92 | 9.2e-07 | 0.92 | 0.7707 | 45521269.0293 | 0.79323 | 0.79255
93 | 9.3e-07 | 0.93 | 0.76852 | 45392579.3736 | 0.79099 | 0.79031
94 | 9.4e-07 | 0.94 | 0.76635 | 45264253.5265 | 0.78876 | 0.78808
95 | 9.5e-07 | 0.95 | 0.76418 | 45136290.4595 | 0.78653 | 0.78585
96 | 9.6e-07 | 0.96 | 0.76202 | 45008689.1469 | 0.7843 | 0.78363
97 | 9.7e-07 | 0.97 | 0.75987 | 44881448.5661 | 0.78208 | 0.78142
98 | 9.8e-07 | 0.98 | 0.75772 | 44754567.6974 | 0.77987 | 0.77921
99 | 9.9e-07 | 0.99 | 0.75558 | 44628045.5237 | 0.77767 | 0.777
100 | 1e-06 | 1 | 0.75344 | 44501881.031 | 0.77547 | 0.77481
101 | 1.01e-06 | 1.01 | 0.75131 | 44376073.2082 | 0.77328 | 0.77262
102 | 1.02e-06 | 1.02 | 0.74919 | 44250621.047 | 0.77109 | 0.77043
103 | 1.03e-06 | 1.03 | 0.74707 | 44125523.5419 | 0.76891 | 0.76825
104 | 1.04e-06 | 1.04 | 0.74496 | 44000779.6902 | 0.76674 | 0.76608
105 | 1.05e-06 | 1.05 | 0.74285 | 43876388.4922 | 0.76457 | 0.76392
106 | 1.06e-06 | 1.06 | 0.74075 | 43752348.951 | 0.76241 | 0.76176
107 | 1.07e-06 | 1.07 | 0.73866 | 43628660.0723 | 0.76025 | 0.7596
108 | 1.08e-06 | 1.08 | 0.73657 | 43505320.8649 | 0.7581 | 0.75746
109 | 1.09e-06 | 1.09 | 0.73449 | 43382330.3402 | 0.75596 | 0.75531
110 | 1.1e-06 | 1.1 | 0.73241 | 43259687.5125 | 0.75382 | 0.75318
111 | 1.11e-06 | 1.11 | 0.73034 | 43137391.3989 | 0.75169 | 0.75105
112 | 1.12e-06 | 1.12 | 0.72828 | 43015441.0191 | 0.74957 | 0.74893
113 | 1.13e-06 | 1.13 | 0.72622 | 42893835.3958 | 0.74745 | 0.74681
114 | 1.14e-06 | 1.14 | 0.72416 | 42772573.5544 | 0.74534 | 0.7447
115 | 1.15e-06 | 1.15 | 0.72212 | 42651654.5229 | 0.74323 | 0.74259
116 | 1.16e-06 | 1.16 | 0.72008 | 42531077.3322 | 0.74113 | 0.74049
117 | 1.17e-06 | 1.17 | 0.71804 | 42410841.016 | 0.73903 | 0.7384
118 | 1.18e-06 | 1.18 | 0.71601 | 42290944.6106 | 0.73694 | 0.73631
119 | 1.19e-06 | 1.19 | 0.71399 | 42171387.155 | 0.73486 | 0.73423
120 | 1.2e-06 | 1.2 | 0.71197 | 42052167.691 | 0.73278 | 0.73216
121 | 1.21e-06 | 1.21 | 0.70995 | 41933285.2632 | 0.73071 | 0.73009
122 | 1.22e-06 | 1.22 | 0.70795 | 41814738.9186 | 0.72865 | 0.72802
123 | 1.23e-06 | 1.23 | 0.70595 | 41696527.7073 | 0.72659 | 0.72596
124 | 1.24e-06 | 1.24 | 0.70395 | 41578650.6817 | 0.72453 | 0.72391
125 | 1.25e-06 | 1.25 | 0.70196 | 41461106.8972 | 0.72248 | 0.72186
126 | 1.26e-06 | 1.26 | 0.69998 | 41343895.4115 | 0.72044 | 0.71982
127 | 1.27e-06 | 1.27 | 0.698 | 41227015.2854 | 0.7184 | 0.71779
128 | 1.28e-06 | 1.28 | 0.69602 | 41110465.5821 | 0.71637 | 0.71576
129 | 1.29e-06 | 1.29 | 0.69406 | 40994245.3674 | 0.71435 | 0.71374
130 | 1.3e-06 | 1.3 | 0.69209 | 40878353.7098 | 0.71233 | 0.71172
131 | 1.31e-06 | 1.31 | 0.69014 | 40762789.6806 | 0.71031 | 0.70971
132 | 1.32e-06 | 1.32 | 0.68819 | 40647552.3535 | 0.70831 | 0.7077
133 | 1.33e-06 | 1.33 | 0.68624 | 40532640.805 | 0.7063 | 0.7057
134 | 1.34e-06 | 1.34 | 0.6843 | 40418054.114 | 0.70431 | 0.7037
135 | 1.35e-06 | 1.35 | 0.68237 | 40303791.3621 | 0.70232 | 0.70172
136 | 1.36e-06 | 1.36 | 0.68044 | 40189851.6336 | 0.70033 | 0.69973
137 | 1.37e-06 | 1.37 | 0.67851 | 40076234.0154 | 0.69835 | 0.69775
138 | 1.38e-06 | 1.38 | 0.6766 | 39962937.5966 | 0.69638 | 0.69578
139 | 1.39e-06 | 1.39 | 0.67468 | 39849961.4695 | 0.69441 | 0.69381
140 | 1.4e-06 | 1.4 | 0.67278 | 39737304.7283 | 0.69244 | 0.69185
141 | 1.41e-06 | 1.41 | 0.67087 | 39624966.4704 | 0.69049 | 0.6899
142 | 1.42e-06 | 1.42 | 0.66898 | 39512945.7952 | 0.68854 | 0.68795
143 | 1.43e-06 | 1.43 | 0.66709 | 39401241.805 | 0.68659 | 0.686
144 | 1.44e-06 | 1.44 | 0.6652 | 39289853.6045 | 0.68465 | 0.68406
145 | 1.45e-06 | 1.45 | 0.66332 | 39178780.301 | 0.68271 | 0.68213
146 | 1.46e-06 | 1.46 | 0.66144 | 39068021.0042 | 0.68078 | 0.6802
147 | 1.47e-06 | 1.47 | 0.65957 | 38957574.8264 | 0.67886 | 0.67828
148 | 1.48e-06 | 1.48 | 0.65771 | 38847440.8825 | 0.67694 | 0.67636
149 | 1.49e-06 | 1.49 | 0.65585 | 38737618.2898 | 0.67502 | 0.67445
150 | 1.5e-06 | 1.5 | 0.654 | 38628106.1679 | 0.67312 | 0.67254
151 | 1.51e-06 | 1.51 | 0.65215 | 38518903.6394 | 0.67121 | 0.67064
152 | 1.52e-06 | 1.52 | 0.6503 | 38410009.8288 | 0.66932 | 0.66874
153 | 1.53e-06 | 1.53 | 0.64847 | 38301423.8635 | 0.66742 | 0.66685
154 | 1.54e-06 | 1.54 | 0.64663 | 38193144.8732 | 0.66554 | 0.66497
155 | 1.55e-06 | 1.55 | 0.6448 | 38085171.99 | 0.66366 | 0.66309
156 | 1.56e-06 | 1.56 | 0.64298 | 37977504.3486 | 0.66178 | 0.66121
157 | 1.57e-06 | 1.57 | 0.64116 | 37870141.086 | 0.65991 | 0.65934
158 | 1.58e-06 | 1.58 | 0.63935 | 37763081.3419 | 0.65804 | 0.65748
159 | 1.59e-06 | 1.59 | 0.63754 | 37656324.258 | 0.65618 | 0.65562
160 | 1.6e-06 | 1.6 | 0.63574 | 37549868.9788 | 0.65433 | 0.65377
161 | 1.61e-06 | 1.61 | 0.63394 | 37443714.6511 | 0.65248 | 0.65192
162 | 1.62e-06 | 1.62 | 0.63215 | 37337860.4241 | 0.65063 | 0.65008
163 | 1.63e-06 | 1.63 | 0.63036 | 37232305.4494 | 0.64879 | 0.64824
164 | 1.64e-06 | 1.64 | 0.62858 | 37127048.881 | 0.64696 | 0.64641
165 | 1.65e-06 | 1.65 | 0.62681 | 37022089.8752 | 0.64513 | 0.64458
166 | 1.66e-06 | 1.66 | 0.62503 | 36917427.591 | 0.64331 | 0.64276
167 | 1.67e-06 | 1.67 | 0.62327 | 36813061.1894 | 0.64149 | 0.64094
168 | 1.68e-06 | 1.68 | 0.6215 | 36708989.834 | 0.63967 | 0.63913
169 | 1.69e-06 | 1.69 | 0.61975 | 36605212.6906 | 0.63787 | 0.63732
170 | 1.7e-06 | 1.7 | 0.618 | 36501728.9276 | 0.63606 | 0.63552
171 | 1.71e-06 | 1.71 | 0.61625 | 36398537.7155 | 0.63427 | 0.63372
172 | 1.72e-06 | 1.72 | 0.61451 | 36295638.2273 | 0.63247 | 0.63193
173 | 1.73e-06 | 1.73 | 0.61277 | 36193029.6382 | 0.63068 | 0.63014
174 | 1.74e-06 | 1.74 | 0.61104 | 36090711.126 | 0.6289 | 0.62836
175 | 1.75e-06 | 1.75 | 0.60931 | 35988681.8705 | 0.62712 | 0.62659
176 | 1.76e-06 | 1.76 | 0.60759 | 35886941.054 | 0.62535 | 0.62482
177 | 1.77e-06 | 1.77 | 0.60587 | 35785487.8611 | 0.62358 | 0.62305
178 | 1.78e-06 | 1.78 | 0.60416 | 35684321.4787 | 0.62182 | 0.62129
179 | 1.79e-06 | 1.79 | 0.60245 | 35583441.0959 | 0.62006 | 0.61953
180 | 1.8e-06 | 1.8 | 0.60075 | 35482845.9043 | 0.61831 | 0.61778
181 | 1.81e-06 | 1.81 | 0.59905 | 35382535.0975 | 0.61656 | 0.61603
182 | 1.82e-06 | 1.82 | 0.59735 | 35282507.8716 | 0.61482 | 0.61429
183 | 1.83e-06 | 1.83 | 0.59566 | 35182763.425 | 0.61308 | 0.61255
184 | 1.84e-06 | 1.84 | 0.59398 | 35083300.9582 | 0.61135 | 0.61082
185 | 1.85e-06 | 1.85 | 0.5923 | 34984119.674 | 0.60962 | 0.6091
186 | 1.86e-06 | 1.86 | 0.59063 | 34885218.7775 | 0.60789 | 0.60737
187 | 1.87e-06 | 1.87 | 0.58896 | 34786597.4761 | 0.60618 | 0.60566
188 | 1.88e-06 | 1.88 | 0.58729 | 34688254.9794 | 0.60446 | 0.60395
189 | 1.89e-06 | 1.89 | 0.58563 | 34590190.4991 | 0.60275 | 0.60224
190 | 1.9e-06 | 1.9 | 0.58398 | 34492403.2493 | 0.60105 | 0.60054
191 | 1.91e-06 | 1.91 | 0.58233 | 34394892.4463 | 0.59935 | 0.59884
192 | 1.92e-06 | 1.92 | 0.58068 | 34297657.3085 | 0.59766 | 0.59714
193 | 1.93e-06 | 1.93 | 0.57904 | 34200697.0567 | 0.59597 | 0.59546
194 | 1.94e-06 | 1.94 | 0.5774 | 34104010.9136 | 0.59428 | 0.59377
195 | 1.95e-06 | 1.95 | 0.57577 | 34007598.1045 | 0.5926 | 0.59209
196 | 1.96e-06 | 1.96 | 0.57414 | 33911457.8566 | 0.59093 | 0.59042
197 | 1.97e-06 | 1.97 | 0.57252 | 33815589.3993 | 0.58926 | 0.58875
198 | 1.98e-06 | 1.98 | 0.5709 | 33719991.9643 | 0.58759 | 0.58709
199 | 1.99e-06 | 1.99 | 0.56928 | 33624664.7854 | 0.58593 | 0.58543
200 | 2e-06 | 2 | 0.56768 | 33529607.0987 | 0.58427 | 0.58377
201 | 2.01e-06 | 2.01 | 0.56607 | 33434818.1421 | 0.58262 | 0.58212
202 | 2.02e-06 | 2.02 | 0.56447 | 33340297.1561 | 0.58097 | 0.58048
203 | 2.03e-06 | 2.03 | 0.56287 | 33246043.383 | 0.57933 | 0.57884
204 | 2.04e-06 | 2.04 | 0.56128 | 33152056.0675 | 0.57769 | 0.5772
205 | 2.05e-06 | 2.05 | 0.5597 | 33058334.4562 | 0.57606 | 0.57557
206 | 2.06e-06 | 2.06 | 0.55811 | 32964877.798 | 0.57443 | 0.57394
207 | 2.07e-06 | 2.07 | 0.55654 | 32871685.344 | 0.57281 | 0.57232
208 | 2.08e-06 | 2.08 | 0.55496 | 32778756.3471 | 0.57119 | 0.5707
209 | 2.09e-06 | 2.09 | 0.55339 | 32686090.0625 | 0.56957 | 0.56909
210 | 2.1e-06 | 2.1 | 0.55183 | 32593685.7477 | 0.56796 | 0.56748
211 | 2.11e-06 | 2.11 | 0.55027 | 32501542.6619 | 0.56636 | 0.56587
212 | 2.12e-06 | 2.12 | 0.54871 | 32409660.0668 | 0.56476 | 0.56427
213 | 2.13e-06 | 2.13 | 0.54716 | 32318037.2258 | 0.56316 | 0.56268
214 | 2.14e-06 | 2.14 | 0.54562 | 32226673.4046 | 0.56157 | 0.56109
215 | 2.15e-06 | 2.15 | 0.54407 | 32135567.871 | 0.55998 | 0.5595
216 | 2.16e-06 | 2.16 | 0.54254 | 32044719.8948 | 0.5584 | 0.55792
217 | 2.17e-06 | 2.17 | 0.541 | 31954128.7479 | 0.55682 | 0.55634
218 | 2.18e-06 | 2.18 | 0.53947 | 31863793.7043 | 0.55524 | 0.55477
219 | 2.19e-06 | 2.19 | 0.53795 | 31773714.0398 | 0.55367 | 0.5532
220 | 2.2e-06 | 2.2 | 0.53643 | 31683889.0326 | 0.55211 | 0.55164
221 | 2.21e-06 | 2.21 | 0.53491 | 31594317.9627 | 0.55055 | 0.55008
222 | 2.22e-06 | 2.22 | 0.5334 | 31505000.1122 | 0.54899 | 0.54852
223 | 2.23e-06 | 2.23 | 0.53189 | 31415934.7653 | 0.54744 | 0.54697
224 | 2.24e-06 | 2.24 | 0.53039 | 31327121.2082 | 0.54589 | 0.54543
225 | 2.25e-06 | 2.25 | 0.52889 | 31238558.729 | 0.54435 | 0.54388
226 | 2.26e-06 | 2.26 | 0.52739 | 31150246.6179 | 0.54281 | 0.54235
227 | 2.27e-06 | 2.27 | 0.5259 | 31062184.1672 | 0.54128 | 0.54081
228 | 2.28e-06 | 2.28 | 0.52441 | 30974370.671 | 0.53975 | 0.53928
229 | 2.29e-06 | 2.29 | 0.52293 | 30886805.4255 | 0.53822 | 0.53776
230 | 2.3e-06 | 2.3 | 0.52145 | 30799487.729 | 0.5367 | 0.53624
231 | 2.31e-06 | 2.31 | 0.51998 | 30712416.8815 | 0.53518 | 0.53472
232 | 2.32e-06 | 2.32 | 0.51851 | 30625592.1853 | 0.53367 | 0.53321
233 | 2.33e-06 | 2.33 | 0.51704 | 30539012.9445 | 0.53216 | 0.5317
234 | 2.34e-06 | 2.34 | 0.51558 | 30452678.4652 | 0.53066 | 0.5302
235 | 2.35e-06 | 2.35 | 0.51412 | 30366588.0554 | 0.52915 | 0.5287
236 | 2.36e-06 | 2.36 | 0.51267 | 30280741.0251 | 0.52766 | 0.52721
237 | 2.37e-06 | 2.37 | 0.51122 | 30195136.6863 | 0.52617 | 0.52572
238 | 2.38e-06 | 2.38 | 0.50978 | 30109774.3529 | 0.52468 | 0.52423
239 | 2.39e-06 | 2.39 | 0.50833 | 30024653.3408 | 0.5232 | 0.52275
240 | 2.4e-06 | 2.4 | 0.5069 | 29939772.9676 | 0.52172 | 0.52127
241 | 2.41e-06 | 2.41 | 0.50546 | 29855132.5532 | 0.52024 | 0.5198
242 | 2.42e-06 | 2.42 | 0.50404 | 29770731.4192 | 0.51877 | 0.51833
243 | 2.43e-06 | 2.43 | 0.50261 | 29686568.8891 | 0.51731 | 0.51686
244 | 2.44e-06 | 2.44 | 0.50119 | 29602644.2884 | 0.51584 | 0.5154
245 | 2.45e-06 | 2.45 | 0.49977 | 29518956.9444 | 0.51438 | 0.51394
246 | 2.46e-06 | 2.46 | 0.49836 | 29435506.1864 | 0.51293 | 0.51249
247 | 2.47e-06 | 2.47 | 0.49695 | 29352291.3456 | 0.51148 | 0.51104
248 | 2.48e-06 | 2.48 | 0.49555 | 29269311.755 | 0.51003 | 0.5096
249 | 2.49e-06 | 2.49 | 0.49415 | 29186566.7496 | 0.50859 | 0.50816
250 | 2.5e-06 | 2.5 | 0.49275 | 29104055.6662 | 0.50715 | 0.50672
251 | 2.51e-06 | 2.51 | 0.49136 | 29021777.8435 | 0.50572 | 0.50529
252 | 2.52e-06 | 2.52 | 0.48997 | 28939732.622 | 0.50429 | 0.50386
253 | 2.53e-06 | 2.53 | 0.48858 | 28857919.3443 | 0.50287 | 0.50244
254 | 2.54e-06 | 2.54 | 0.4872 | 28776337.3545 | 0.50144 | 0.50101
255 | 2.55e-06 | 2.55 | 0.48582 | 28694985.9989 | 0.50003 | 0.4996
256 | 2.56e-06 | 2.56 | 0.48445 | 28613864.6254 | 0.49861 | 0.49819
257 | 2.57e-06 | 2.57 | 0.48308 | 28532972.5838 | 0.4972 | 0.49678
258 | 2.58e-06 | 2.58 | 0.48171 | 28452309.2259 | 0.4958 | 0.49537
259 | 2.59e-06 | 2.59 | 0.48035 | 28371873.9051 | 0.4944 | 0.49397
260 | 2.6e-06 | 2.6 | 0.47899 | 28291665.9767 | 0.493 | 0.49258
261 | 2.61e-06 | 2.61 | 0.47764 | 28211684.798 | 0.4916 | 0.49118
262 | 2.62e-06 | 2.62 | 0.47629 | 28131929.7279 | 0.49021 | 0.4898
263 | 2.63e-06 | 2.63 | 0.47494 | 28052400.1272 | 0.48883 | 0.48841
264 | 2.64e-06 | 2.64 | 0.4736 | 27973095.3585 | 0.48745 | 0.48703
265 | 2.65e-06 | 2.65 | 0.47226 | 27894014.7861 | 0.48607 | 0.48565
266 | 2.66e-06 | 2.66 | 0.47093 | 27815157.7763 | 0.48469 | 0.48428
267 | 2.67e-06 | 2.67 | 0.4696 | 27736523.697 | 0.48332 | 0.48291
268 | 2.68e-06 | 2.68 | 0.46827 | 27658111.9181 | 0.48196 | 0.48155
269 | 2.69e-06 | 2.69 | 0.46694 | 27579921.811 | 0.4806 | 0.48018
270 | 2.7e-06 | 2.7 | 0.46562 | 27501952.7491 | 0.47924 | 0.47883
271 | 2.71e-06 | 2.71 | 0.46431 | 27424204.1076 | 0.47788 | 0.47747
272 | 2.72e-06 | 2.72 | 0.46299 | 27346675.2632 | 0.47653 | 0.47612
273 | 2.73e-06 | 2.73 | 0.46169 | 27269365.5946 | 0.47518 | 0.47478
274 | 2.74e-06 | 2.74 | 0.46038 | 27192274.4821 | 0.47384 | 0.47344
275 | 2.75e-06 | 2.75 | 0.45908 | 27115401.308 | 0.4725 | 0.4721
276 | 2.76e-06 | 2.76 | 0.45778 | 27038745.4561 | 0.47117 | 0.47076
277 | 2.77e-06 | 2.77 | 0.45649 | 26962306.312 | 0.46983 | 0.46943
278 | 2.78e-06 | 2.78 | 0.4552 | 26886083.2631 | 0.46851 | 0.4681
279 | 2.79e-06 | 2.79 | 0.45391 | 26810075.6985 | 0.46718 | 0.46678
280 | 2.8e-06 | 2.8 | 0.45263 | 26734283.0089 | 0.46586 | 0.46546
281 | 2.81e-06 | 2.81 | 0.45135 | 26658704.587 | 0.46454 | 0.46415
282 | 2.82e-06 | 2.82 | 0.45007 | 26583339.8271 | 0.46323 | 0.46283
283 | 2.83e-06 | 2.83 | 0.4488 | 26508188.125 | 0.46192 | 0.46152
284 | 2.84e-06 | 2.84 | 0.44753 | 26433248.8784 | 0.46061 | 0.46022
285 | 2.85e-06 | 2.85 | 0.44626 | 26358521.4868 | 0.45931 | 0.45892
286 | 2.86e-06 | 2.86 | 0.445 | 26284005.3513 | 0.45801 | 0.45762
287 | 2.87e-06 | 2.87 | 0.44375 | 26209699.8745 | 0.45672 | 0.45633
288 | 2.88e-06 | 2.88 | 0.44249 | 26135604.461 | 0.45543 | 0.45504
289 | 2.89e-06 | 2.89 | 0.44124 | 26061718.5169 | 0.45414 | 0.45375
290 | 2.9e-06 | 2.9 | 0.43999 | 25988041.45 | 0.45286 | 0.45247
291 | 2.91e-06 | 2.91 | 0.43875 | 25914572.6699 | 0.45158 | 0.45119
292 | 2.92e-06 | 2.92 | 0.43751 | 25841311.5876 | 0.4503 | 0.44991
293 | 2.93e-06 | 2.93 | 0.43627 | 25768257.6161 | 0.44903 | 0.44864
294 | 2.94e-06 | 2.94 | 0.43504 | 25695410.1699 | 0.44776 | 0.44737
295 | 2.95e-06 | 2.95 | 0.43381 | 25622768.665 | 0.44649 | 0.44611
296 | 2.96e-06 | 2.96 | 0.43258 | 25550332.5192 | 0.44523 | 0.44485
297 | 2.97e-06 | 2.97 | 0.43136 | 25478101.1521 | 0.44397 | 0.44359
298 | 2.98e-06 | 2.98 | 0.43014 | 25406073.9847 | 0.44272 | 0.44234
299 | 2.99e-06 | 2.99 | 0.42892 | 25334250.4398 | 0.44146 | 0.44109
300 | 3e-06 | 3 | 0.42771 | 25262629.9416 | 0.44022 | 0.43984
301 | 3.01e-06 | 3.01 | 0.4265 | 25191211.9162 | 0.43897 | 0.4386
302 | 3.02e-06 | 3.02 | 0.4253 | 25119995.7911 | 0.43773 | 0.43736
303 | 3.03e-06 | 3.03 | 0.42409 | 25048980.9957 | 0.43649 | 0.43612
304 | 3.04e-06 | 3.04 | 0.42289 | 24978166.9606 | 0.43526 | 0.43489
305 | 3.05e-06 | 3.05 | 0.4217 | 24907553.1185 | 0.43403 | 0.43366
306 | 3.06e-06 | 3.06 | 0.42051 | 24837138.9033 | 0.4328 | 0.43243
307 | 3.07e-06 | 3.07 | 0.41932 | 24766923.7506 | 0.43158 | 0.43121
308 | 3.08e-06 | 3.08 | 0.41813 | 24696907.0978 | 0.43036 | 0.42999
309 | 3.09e-06 | 3.09 | 0.41695 | 24627088.3836 | 0.42914 | 0.42877
310 | 3.1e-06 | 3.1 | 0.41577 | 24557467.0486 | 0.42793 | 0.42756
311 | 3.11e-06 | 3.11 | 0.4146 | 24488042.5346 | 0.42672 | 0.42635
312 | 3.12e-06 | 3.12 | 0.41342 | 24418814.2852 | 0.42551 | 0.42515
313 | 3.13e-06 | 3.13 | 0.41226 | 24349781.7457 | 0.42431 | 0.42395
314 | 3.14e-06 | 3.14 | 0.41109 | 24280944.3628 | 0.42311 | 0.42275
315 | 3.15e-06 | 3.15 | 0.40993 | 24212301.5847 | 0.42191 | 0.42155
316 | 3.16e-06 | 3.16 | 0.40877 | 24143852.8612 | 0.42072 | 0.42036
317 | 3.17e-06 | 3.17 | 0.40761 | 24075597.6439 | 0.41953 | 0.41917
318 | 3.18e-06 | 3.18 | 0.40646 | 24007535.3856 | 0.41834 | 0.41799
319 | 3.19e-06 | 3.19 | 0.40531 | 23939665.5408 | 0.41716 | 0.41681
320 | 3.2e-06 | 3.2 | 0.40417 | 23871987.5656 | 0.41598 | 0.41563
321 | 3.21e-06 | 3.21 | 0.40302 | 23804500.9176 | 0.41481 | 0.41445
322 | 3.22e-06 | 3.22 | 0.40188 | 23737205.0559 | 0.41363 | 0.41328
323 | 3.23e-06 | 3.23 | 0.40075 | 23670099.4411 | 0.41246 | 0.41211
324 | 3.24e-06 | 3.24 | 0.39962 | 23603183.5353 | 0.4113 | 0.41095
325 | 3.25e-06 | 3.25 | 0.39849 | 23536456.8024 | 0.41014 | 0.40979
326 | 3.26e-06 | 3.26 | 0.39736 | 23469918.7074 | 0.40898 | 0.40863
327 | 3.27e-06 | 3.27 | 0.39624 | 23403568.7172 | 0.40782 | 0.40747
328 | 3.28e-06 | 3.28 | 0.39512 | 23337406.2998 | 0.40667 | 0.40632
329 | 3.29e-06 | 3.29 | 0.394 | 23271430.9251 | 0.40552 | 0.40517
330 | 3.3e-06 | 3.3 | 0.39288 | 23205642.0643 | 0.40437 | 0.40403
331 | 3.31e-06 | 3.31 | 0.39177 | 23140039.19 | 0.40323 | 0.40288
332 | 3.32e-06 | 3.32 | 0.39067 | 23074621.7766 | 0.40209 | 0.40174
333 | 3.33e-06 | 3.33 | 0.38956 | 23009389.2997 | 0.40095 | 0.40061
334 | 3.34e-06 | 3.34 | 0.38846 | 22944341.2365 | 0.39982 | 0.39948
335 | 3.35e-06 | 3.35 | 0.38736 | 22879477.0656 | 0.39869 | 0.39835
336 | 3.36e-06 | 3.36 | 0.38627 | 22814796.2672 | 0.39756 | 0.39722
337 | 3.37e-06 | 3.37 | 0.38518 | 22750298.3228 | 0.39644 | 0.3961
338 | 3.38e-06 | 3.38 | 0.38409 | 22685982.7156 | 0.39532 | 0.39498
339 | 3.39e-06 | 3.39 | 0.383 | 22621848.9301 | 0.3942 | 0.39386
340 | 3.4e-06 | 3.4 | 0.38192 | 22557896.4523 | 0.39308 | 0.39275
341 | 3.41e-06 | 3.41 | 0.38084 | 22494124.7695 | 0.39197 | 0.39164
342 | 3.42e-06 | 3.42 | 0.37976 | 22430533.3707 | 0.39086 | 0.39053
343 | 3.43e-06 | 3.43 | 0.37869 | 22367121.7463 | 0.38976 | 0.38943
344 | 3.44e-06 | 3.44 | 0.37762 | 22303889.3879 | 0.38866 | 0.38833
345 | 3.45e-06 | 3.45 | 0.37655 | 22240835.7889 | 0.38756 | 0.38723
346 | 3.46e-06 | 3.46 | 0.37549 | 22177960.4438 | 0.38646 | 0.38613
347 | 3.47e-06 | 3.47 | 0.37442 | 22115262.8487 | 0.38537 | 0.38504
348 | 3.48e-06 | 3.48 | 0.37337 | 22052742.5011 | 0.38428 | 0.38395
349 | 3.49e-06 | 3.49 | 0.37231 | 21990398.9 | 0.3832 | 0.38287
350 | 3.5e-06 | 3.5 | 0.37126 | 21928231.5456 | 0.38211 | 0.38178
351 | 3.51e-06 | 3.51 | 0.37021 | 21866239.9398 | 0.38103 | 0.38071
352 | 3.52e-06 | 3.52 | 0.36916 | 21804423.5856 | 0.37995 | 0.37963
353 | 3.53e-06 | 3.53 | 0.36812 | 21742781.9877 | 0.37888 | 0.37856
354 | 3.54e-06 | 3.54 | 0.36708 | 21681314.6519 | 0.37781 | 0.37749
355 | 3.55e-06 | 3.55 | 0.36604 | 21620021.0857 | 0.37674 | 0.37642
356 | 3.56e-06 | 3.56 | 0.365 | 21558900.7978 | 0.37568 | 0.37535
357 | 3.57e-06 | 3.57 | 0.36397 | 21497953.2983 | 0.37461 | 0.37429
358 | 3.58e-06 | 3.58 | 0.36294 | 21437178.0988 | 0.37355 | 0.37324
359 | 3.59e-06 | 3.59 | 0.36192 | 21376574.7121 | 0.3725 | 0.37218
360 | 3.6e-06 | 3.6 | 0.36089 | 21316142.6526 | 0.37145 | 0.37113
361 | 3.61e-06 | 3.61 | 0.35987 | 21255881.4359 | 0.3704 | 0.37008
362 | 3.62e-06 | 3.62 | 0.35886 | 21195790.579 | 0.36935 | 0.36903
363 | 3.63e-06 | 3.63 | 0.35784 | 21135869.6003 | 0.3683 | 0.36799
364 | 3.64e-06 | 3.64 | 0.35683 | 21076118.0196 | 0.36726 | 0.36695
365 | 3.65e-06 | 3.65 | 0.35582 | 21016535.3579 | 0.36623 | 0.36591
366 | 3.66e-06 | 3.66 | 0.35482 | 20957121.1378 | 0.36519 | 0.36488
367 | 3.67e-06 | 3.67 | 0.35381 | 20897874.883 | 0.36416 | 0.36385
368 | 3.68e-06 | 3.68 | 0.35281 | 20838796.1187 | 0.36313 | 0.36282
369 | 3.69e-06 | 3.69 | 0.35182 | 20779884.3714 | 0.3621 | 0.36179
370 | 3.7e-06 | 3.7 | 0.35082 | 20721139.169 | 0.36108 | 0.36077
371 | 3.71e-06 | 3.71 | 0.34983 | 20662560.0405 | 0.36006 | 0.35975
372 | 3.72e-06 | 3.72 | 0.34884 | 20604146.5166 | 0.35904 | 0.35873
373 | 3.73e-06 | 3.73 | 0.34785 | 20545898.1291 | 0.35802 | 0.35772
374 | 3.74e-06 | 3.74 | 0.34687 | 20487814.411 | 0.35701 | 0.35671
375 | 3.75e-06 | 3.75 | 0.34589 | 20429894.8969 | 0.356 | 0.3557
376 | 3.76e-06 | 3.76 | 0.34491 | 20372139.1226 | 0.355 | 0.35469
377 | 3.77e-06 | 3.77 | 0.34394 | 20314546.6252 | 0.35399 | 0.35369
378 | 3.78e-06 | 3.78 | 0.34296 | 20257116.9431 | 0.35299 | 0.35269
379 | 3.79e-06 | 3.79 | 0.342 | 20199849.616 | 0.35199 | 0.35169
380 | 3.8e-06 | 3.8 | 0.34103 | 20142744.1849 | 0.351 | 0.3507
381 | 3.81e-06 | 3.81 | 0.34006 | 20085800.1921 | 0.35001 | 0.34971
382 | 3.82e-06 | 3.82 | 0.3391 | 20029017.1813 | 0.34902 | 0.34872
383 | 3.83e-06 | 3.83 | 0.33814 | 19972394.6974 | 0.34803 | 0.34773
384 | 3.84e-06 | 3.84 | 0.33719 | 19915932.2865 | 0.34705 | 0.34675
385 | 3.85e-06 | 3.85 | 0.33623 | 19859629.4961 | 0.34607 | 0.34577
386 | 3.86e-06 | 3.86 | 0.33528 | 19803485.875 | 0.34509 | 0.34479
387 | 3.87e-06 | 3.87 | 0.33434 | 19747500.9731 | 0.34411 | 0.34382
388 | 3.88e-06 | 3.88 | 0.33339 | 19691674.3419 | 0.34314 | 0.34284
389 | 3.89e-06 | 3.89 | 0.33245 | 19636005.5338 | 0.34217 | 0.34188
390 | 3.9e-06 | 3.9 | 0.33151 | 19580494.1026 | 0.3412 | 0.34091
391 | 3.91e-06 | 3.91 | 0.33057 | 19525139.6035 | 0.34024 | 0.33995
392 | 3.92e-06 | 3.92 | 0.32964 | 19469941.5929 | 0.33927 | 0.33898
393 | 3.93e-06 | 3.93 | 0.32871 | 19414899.6283 | 0.33832 | 0.33803
394 | 3.94e-06 | 3.94 | 0.32778 | 19360013.2685 | 0.33736 | 0.33707
395 | 3.95e-06 | 3.95 | 0.32685 | 19305282.0738 | 0.33641 | 0.33612
396 | 3.96e-06 | 3.96 | 0.32593 | 19250705.6053 | 0.33545 | 0.33517
397 | 3.97e-06 | 3.97 | 0.325 | 19196283.4258 | 0.33451 | 0.33422
398 | 3.98e-06 | 3.98 | 0.32409 | 19142015.099 | 0.33356 | 0.33327
399 | 3.99e-06 | 3.99 | 0.32317 | 19087900.1899 | 0.33262 | 0.33233
400 | 4e-06 | 4 | 0.32226 | 19033938.265 | 0.33168 | 0.33139
401 | 4.01e-06 | 4.01 | 0.32134 | 18980128.8916 | 0.33074 | 0.33046
402 | 4.02e-06 | 4.02 | 0.32044 | 18926471.6386 | 0.3298 | 0.32952
403 | 4.03e-06 | 4.03 | 0.31953 | 18872966.0758 | 0.32887 | 0.32859
404 | 4.04e-06 | 4.04 | 0.31863 | 18819611.7744 | 0.32794 | 0.32766
405 | 4.05e-06 | 4.05 | 0.31773 | 18766408.3069 | 0.32702 | 0.32674
406 | 4.06e-06 | 4.06 | 0.31683 | 18713355.2467 | 0.32609 | 0.32581
407 | 4.07e-06 | 4.07 | 0.31593 | 18660452.1688 | 0.32517 | 0.32489
408 | 4.08e-06 | 4.08 | 0.31504 | 18607698.6491 | 0.32425 | 0.32397
409 | 4.09e-06 | 4.09 | 0.31415 | 18555094.2647 | 0.32333 | 0.32306
410 | 4.1e-06 | 4.1 | 0.31326 | 18502638.5941 | 0.32242 | 0.32214
411 | 4.11e-06 | 4.11 | 0.31237 | 18450331.2169 | 0.32151 | 0.32123
412 | 4.12e-06 | 4.12 | 0.31149 | 18398171.7139 | 0.3206 | 0.32032
413 | 4.13e-06 | 4.13 | 0.31061 | 18346159.6669 | 0.31969 | 0.31942
414 | 4.14e-06 | 4.14 | 0.30973 | 18294294.6592 | 0.31879 | 0.31852
415 | 4.15e-06 | 4.15 | 0.30886 | 18242576.275 | 0.31789 | 0.31762
416 | 4.16e-06 | 4.16 | 0.30798 | 18191004.0998 | 0.31699 | 0.31672
417 | 4.17e-06 | 4.17 | 0.30711 | 18139577.7204 | 0.31609 | 0.31582
418 | 4.18e-06 | 4.18 | 0.30625 | 18088296.7245 | 0.3152 | 0.31493
419 | 4.19e-06 | 4.19 | 0.30538 | 18037160.7011 | 0.31431 | 0.31404
420 | 4.2e-06 | 4.2 | 0.30452 | 17986169.2404 | 0.31342 | 0.31315
421 | 4.21e-06 | 4.21 | 0.30366 | 17935321.9337 | 0.31253 | 0.31227
422 | 4.22e-06 | 4.22 | 0.3028 | 17884618.3735 | 0.31165 | 0.31138
423 | 4.23e-06 | 4.23 | 0.30194 | 17834058.1535 | 0.31077 | 0.3105
424 | 4.24e-06 | 4.24 | 0.30109 | 17783640.8683 | 0.30989 | 0.30962
425 | 4.25e-06 | 4.25 | 0.30024 | 17733366.1139 | 0.30901 | 0.30875
426 | 4.26e-06 | 4.26 | 0.29939 | 17683233.4873 | 0.30814 | 0.30788
427 | 4.27e-06 | 4.27 | 0.29854 | 17633242.5869 | 0.30727 | 0.30701
428 | 4.28e-06 | 4.28 | 0.2977 | 17583393.0118 | 0.3064 | 0.30614
429 | 4.29e-06 | 4.29 | 0.29686 | 17533684.3627 | 0.30553 | 0.30527
430 | 4.3e-06 | 4.3 | 0.29602 | 17484116.241 | 0.30467 | 0.30441
431 | 4.31e-06 | 4.31 | 0.29518 | 17434688.2494 | 0.30381 | 0.30355
432 | 4.32e-06 | 4.32 | 0.29434 | 17385399.992 | 0.30295 | 0.30269
433 | 4.33e-06 | 4.33 | 0.29351 | 17336251.0736 | 0.30209 | 0.30184
434 | 4.34e-06 | 4.34 | 0.29268 | 17287241.1002 | 0.30124 | 0.30098
435 | 4.35e-06 | 4.35 | 0.29186 | 17238369.6792 | 0.30039 | 0.30013
436 | 4.36e-06 | 4.36 | 0.29103 | 17189636.4188 | 0.29954 | 0.29928
437 | 4.37e-06 | 4.37 | 0.29021 | 17141040.9284 | 0.29869 | 0.29844
438 | 4.38e-06 | 4.38 | 0.28939 | 17092582.8185 | 0.29785 | 0.29759
439 | 4.39e-06 | 4.39 | 0.28857 | 17044261.7008 | 0.29701 | 0.29675
440 | 4.4e-06 | 4.4 | 0.28775 | 16996077.1881 | 0.29617 | 0.29591
441 | 4.41e-06 | 4.41 | 0.28694 | 16948028.894 | 0.29533 | 0.29508
442 | 4.42e-06 | 4.42 | 0.28613 | 16900116.4335 | 0.29449 | 0.29424
443 | 4.43e-06 | 4.43 | 0.28532 | 16852339.4226 | 0.29366 | 0.29341
444 | 4.44e-06 | 4.44 | 0.28451 | 16804697.4785 | 0.29283 | 0.29258
445 | 4.45e-06 | 4.45 | 0.28371 | 16757190.2192 | 0.292 | 0.29175
446 | 4.46e-06 | 4.46 | 0.28291 | 16709817.2639 | 0.29118 | 0.29093
447 | 4.47e-06 | 4.47 | 0.28211 | 16662578.2331 | 0.29035 | 0.29011
448 | 4.48e-06 | 4.48 | 0.28131 | 16615472.7481 | 0.28953 | 0.28929
449 | 4.49e-06 | 4.49 | 0.28051 | 16568500.4314 | 0.28872 | 0.28847
450 | 4.5e-06 | 4.5 | 0.27972 | 16521660.9065 | 0.2879 | 0.28765
451 | 4.51e-06 | 4.51 | 0.27893 | 16474953.7979 | 0.28709 | 0.28684
452 | 4.52e-06 | 4.52 | 0.27814 | 16428378.7314 | 0.28627 | 0.28603
453 | 4.53e-06 | 4.53 | 0.27736 | 16381935.3337 | 0.28546 | 0.28522
454 | 4.54e-06 | 4.54 | 0.27657 | 16335623.2325 | 0.28466 | 0.28441
455 | 4.55e-06 | 4.55 | 0.27579 | 16289442.0567 | 0.28385 | 0.28361
456 | 4.56e-06 | 4.56 | 0.27501 | 16243391.4361 | 0.28305 | 0.28281
457 | 4.57e-06 | 4.57 | 0.27423 | 16197471.0016 | 0.28225 | 0.28201
458 | 4.58e-06 | 4.58 | 0.27346 | 16151680.3853 | 0.28145 | 0.28121
459 | 4.59e-06 | 4.59 | 0.27268 | 16106019.22 | 0.28066 | 0.28042
460 | 4.6e-06 | 4.6 | 0.27191 | 16060487.1399 | 0.27986 | 0.27962
461 | 4.61e-06 | 4.61 | 0.27114 | 16015083.7801 | 0.27907 | 0.27883
462 | 4.62e-06 | 4.62 | 0.27038 | 15969808.7765 | 0.27828 | 0.27804
463 | 4.63e-06 | 4.63 | 0.26961 | 15924661.7664 | 0.2775 | 0.27726
464 | 4.64e-06 | 4.64 | 0.26885 | 15879642.3879 | 0.27671 | 0.27647
465 | 4.65e-06 | 4.65 | 0.26809 | 15834750.2802 | 0.27593 | 0.27569
466 | 4.66e-06 | 4.66 | 0.26733 | 15789985.0835 | 0.27515 | 0.27491
467 | 4.67e-06 | 4.67 | 0.26658 | 15745346.4391 | 0.27437 | 0.27414
468 | 4.68e-06 | 4.68 | 0.26582 | 15700833.9891 | 0.2736 | 0.27336
469 | 4.69e-06 | 4.69 | 0.26507 | 15656447.3768 | 0.27282 | 0.27259
470 | 4.7e-06 | 4.7 | 0.26432 | 15612186.2464 | 0.27205 | 0.27182
471 | 4.71e-06 | 4.71 | 0.26358 | 15568050.2433 | 0.27128 | 0.27105
472 | 4.72e-06 | 4.72 | 0.26283 | 15524039.0136 | 0.27052 | 0.27028
473 | 4.73e-06 | 4.73 | 0.26209 | 15480152.2047 | 0.26975 | 0.26952
474 | 4.74e-06 | 4.74 | 0.26135 | 15436389.4648 | 0.26899 | 0.26876
475 | 4.75e-06 | 4.75 | 0.26061 | 15392750.4432 | 0.26823 | 0.268
476 | 4.76e-06 | 4.76 | 0.25987 | 15349234.79 | 0.26747 | 0.26724
477 | 4.77e-06 | 4.77 | 0.25914 | 15305842.1566 | 0.26671 | 0.26648
478 | 4.78e-06 | 4.78 | 0.2584 | 15262572.1951 | 0.26596 | 0.26573
479 | 4.79e-06 | 4.79 | 0.25767 | 15219424.5588 | 0.26521 | 0.26498
480 | 4.8e-06 | 4.8 | 0.25695 | 15176398.9018 | 0.26446 | 0.26423
481 | 4.81e-06 | 4.81 | 0.25622 | 15133494.8794 | 0.26371 | 0.26348
482 | 4.82e-06 | 4.82 | 0.25549 | 15090712.1475 | 0.26296 | 0.26274
483 | 4.83e-06 | 4.83 | 0.25477 | 15048050.3635 | 0.26222 | 0.262
484 | 4.84e-06 | 4.84 | 0.25405 | 15005509.1852 | 0.26148 | 0.26126
485 | 4.85e-06 | 4.85 | 0.25333 | 14963088.2718 | 0.26074 | 0.26052
486 | 4.86e-06 | 4.86 | 0.25262 | 14920787.2833 | 0.26 | 0.25978
487 | 4.87e-06 | 4.87 | 0.2519 | 14878605.8807 | 0.25927 | 0.25905
488 | 4.88e-06 | 4.88 | 0.25119 | 14836543.7258 | 0.25854 | 0.25831
489 | 4.89e-06 | 4.89 | 0.25048 | 14794600.4816 | 0.2578 | 0.25758
490 | 4.9e-06 | 4.9 | 0.24977 | 14752775.8119 | 0.25708 | 0.25686
491 | 4.91e-06 | 4.91 | 0.24907 | 14711069.3815 | 0.25635 | 0.25613
492 | 4.92e-06 | 4.92 | 0.24836 | 14669480.8561 | 0.25562 | 0.25541
493 | 4.93e-06 | 4.93 | 0.24766 | 14628009.9024 | 0.2549 | 0.25468
494 | 4.94e-06 | 4.94 | 0.24696 | 14586656.188 | 0.25418 | 0.25396
495 | 4.95e-06 | 4.95 | 0.24626 | 14545419.3815 | 0.25346 | 0.25325
496 | 4.96e-06 | 4.96 | 0.24557 | 14504299.1524 | 0.25275 | 0.25253
497 | 4.97e-06 | 4.97 | 0.24487 | 14463295.1711 | 0.25203 | 0.25182
498 | 4.98e-06 | 4.98 | 0.24418 | 14422407.109 | 0.25132 | 0.2511
499 | 4.99e-06 | 4.99 | 0.24349 | 14381634.6383 | 0.25061 | 0.25039